To:  All D-HH Providers

From: 	Ella Martin, MD, Medical Director of Microbiology

Date:   April 1, 2022

RE:     Cessation of Extended Blood Culture Holds

Effective immediately, the DHMC Clinical Microbiology Laboratory will no longer extend the incubation of blood cultures for longer than 5 days.

Modern blood culture bottles and automated incubation instruments are able to grow and detect bacteria and yeast pathogens (including the “HACEK” organisms) within the standard 5-day incubation period. Our in-house data, multiple large studies and national laboratory guidelines support the lack of diagnostic yield from extended blood culture incubation.

References:

1) Petti CA, Bhally HS, Weinstein MP et al. “Utility of Extended Blood Culture Incubation for Isolation of Haemophilus, Actinobacillus, Cardiobacterium, Eikenella and Kingella Organisms: a Retrospective Multicenter Evaluation.”  Journal of Clinical Microbiology. 2006;44(1):257-259.

2) Baron EJ, Scott JD, Tompkins LS. “Prolonged Incubation and Extensive Subculturing do not Increase Recovery of Clinically Significant Microorganisms from Standard Automated Blood Cultures.” Clinical Infectious Disease. 2005;41(11):1677-1680.

3) Ransom EM, Alipour Z, Wallace MA, Burnham CA. “Evaluation of Optimal Blood Culture Incubation Time to Maximize Clinically Relevant Results from a Contemporary Blood Culture Instrument and Media System.” Journal of Clinical Microbiology.  2021:59(3)

4)  Clinical and Laboratory Standards Institute (CLSI). Principles and Procedures for Blood Cultures: Approved Guideline. CLSI document M47-A. Wayne, PA: 2007.

For questions or additional information, please contact: Ella Martin, MD at isabella.w.martin@hitchcock.org.