To:	All Dartmouth Health Providers

From:	Mark A. Cervinski, PhD, DABCC

Director of Clinical Chemistry and Point-of-Care Testing

Date:	01/23/2023

RE:	Update to Creatinine Measurement Method, No Change in Reference Intervals

On Tuesday January 24, 2023 there will be a change in the method used for plasma and urine creatinine measurement throughout DHH network laboratories. The new enzymatic creatinine method will remain traceable to the Isotope Dilution Mass Spectrometry standard, and has fewer analytical interferences than the current Jaffe (colorimetric, picric acid based) method.

The reference intervals for plasma and urine creatinine will not change as a result of this updated testing methodology.

For questions or additional information, please contact: Mark.A.Cervinski@Hitchcock.org

Please check off the appropriate distribution lists by clicking the box:

☒ StaffPhysicians-Lebanon@hitchcock.org

☒ StaffPhysicians-Concord@hitchcock.org

☒ StaffPhysicians-Manchester@hitchcock.org

☒ StaffPhysicians-Nashua@hitchcock.org

☒ APRN-Lebanon@hitchcock.org

☒ APRN-Concord@hitchcock.org

☒ APRN-Manchester@hitchcock.org

☒ APRN-Nashua@hitchcock.org

☒ PA-Lebanon@hitchcock.org

☒ PA-Concord@hitchcock.org

☒ PA-Manchester@hitchcock.org

☒ PA-Nashua@hitchcock.org

☒ GME-Residents-Fellows@hitchcock.org

☒ APD: Peter Glenshaw - glenshawp@apdmh.org; and Kelli Pippin- pippink@apdmh.org

☒ Cheshire: Matthew Barone - mbarone@cheshire-med.com; and Heather Atwell - hatwell@cheshire-med.com

☒ New London: Timothy.Lund@newlondonhospital.org; and Kathleen.Kennedy@newlondonhospital.org