To: Dartmouth Health Providers

From: Lynn A. Brunelle, Ph.D., Assistant Director, Clinical Chemistry Services

Date: 4/14/2023

RE:  Updated Serum Acetaminophen Critical Concentration Threshold

Effective April 18, 2023, the critical concentration threshold value for serum acetaminophen will change to greater than 50 mg/L from a previous value of greater than or equal to 5 mg/L.  The reference interval will also be changing to 5 to 30 mg/L from the previous interval of 10 to 30 mg/L.

Why is this change being made?

To better communicate results that require rapid provider intervention, serum acetaminophen values greater than 50 mg/L will be called to the responsible provider.  Serum acetaminophen values at or below 50 mg/L are typically less urgent in nature and all values greater than 30 mg/L will generate an elevated result flag in Epic.

What do Providers need to do?

Review the reporting changes and reach out with any questions.

For questions or additional information, please contact:

Lynn.A.Brunelle@hitchcock.org

Mark.A.Cervinski@hitchcock.org

Kimball.A.Geno@hitchcock.org