From: Nancy Dunbar, MD, Special Coagulation Lab Medical Director

Malory Tetreault, Hematology Laboratory Supervisor

Lauren Salvatore, Special Coagulation Technical Specialist

Date: 12/7/2023

RE:  Analyzer implementation changes

Effective December 12th, 2023, the following critical value and reference ranges will be changing due to new analyzer validation and implementation:

- von Willebrand Factor Activity and Antigen, all age groups, reference range >50%

- APC ratio for automatic reflexing the Factor V Leiden mutation <2.40

- Low Molecular Weight Heparin critical value >1.5 IU/mL

What do Providers need to do?

Please reach out for additional information if needed.

For questions or additional information, please contact:

Special Coagulation Technical Specialist, Lauren Salvatore, 650-8604

Hematology Supervisor, Malory Tetreault, 650-8407

Special Coagulation Medical Director, Nancy Dunbar, MD 650-8747