**From:** Nancy Dunbar, MD, Special Coagulation Lab Medical Director

Malory Tetreault, Hematology Laboratory Supervisor

Lauren Salvatore, Special Coagulation Technical Specialist

**Date:** 12/7/2023

**RE:** Analyzer implementation changes

Effective December 12th, 2023, the following critical value and reference ranges will be changing due to new analyzer validation and implementation:

* von Willebrand Factor Activity and Antigen, all age groups, reference range >50%
* APC ratio for automatic reflexing the Factor V Leiden mutation <2.40
* Low Molecular Weight Heparin critical value >1.5 IU/mL

**What do Providers need to do?**

Please reach out for additional information if needed.

**For questions or additional information, please contact:**

Special Coagulation Technical Specialist, Lauren Salvatore, 650-8604

Hematology Supervisor, Malory Tetreault, 650-8407

Special Coagulation Medical Director, Nancy Dunbar, MD 650-8747