**To:** Dartmouth Health System Providers

**From:** K. Aaron Geno, PhD, DABCC, Assistant Director of Clinical Chemistry

Abigail Johnston MS, MLS (ASCP)CM, Laboratory Medicine Operations Manager

**Date:** December 2, 2024

**RE:** Tests Restored – Cyclosporine A, Everolimus, Sirolimus

**Situation**

Normal testing for cyclosporine A, everolimus, and sirolimus has resumed.

**Background**

The mass spectrometer that performs testing for cyclosporine A, everolimus, and sirolimus had been out of service. It was repaired last week.

**Assessment**

Following service, system testing indicated normal instrument function Tuesday afternoon. Out of an abundance of caution, we continued routing all samples for these tests to Mayo Clinic Labs through Tuesday while we completed more extensive testing.

**Recommendation**

Providers can expect resumption of normal in-house turnaround times for this testing.

**For questions or additional information, please contact:**

[kimball.a.geno@hitchcock.org](mailto:kimball.a.geno@hitchcock.org) or the chemistry director on call at pager 8139.