To: 	 Dartmouth Health Providers

# From:    Lynn A. Brunelle, PhD, DABCC, Assistant Director of Clinical Chemistry

# Sarah E. Labore, MLS (ASCP)cm, Chemistry and Night Shift Supervisor

Date:	   January 28, 2025

Re:         Test Down - Osmolality

Situation

The instrument that performs osmolality testing is currently down.  As a result, DHMC is unable to perform plasma, urine or stool osmolality testing at this time.

Background

The instrument that performs osmolality testing is down and service has been notified.  DHMC will be sending STAT and routine samples received for osmolality testing via STAT courier to Cheshire Medical Center for immediate testing until the situation is resolved.

Assessment

The laboratory is working with service and will send out further updates as information is available.

Recommendation

Providers should expect lengthened turnaround times for osmolality testing until the DHMC instrument is repaired.

For questions or additional information, please contact:

lynn.a.brunelle@hitchcock.org, kimball.a.geno@hitchcock.org, mark.a.cervinski@hitchcock.org, or the Chemistry Director on-call at 8139.