To:	All Dartmouth Health Providers

# From:	Mark A. Cervinski, PhD, DABCC, Director of Clinical Chemistry

# Sarah E. Labore, MLS (ASCP)cm, Chemistry and Night Shift Supervisor

Date:	February 7, 2025

Re:          Testing Resumed – Quantiferon, and Infectious Disease Serology (See List)

Situation

The special chemistry laboratory has resumed testing for Quantiferon and serology tests (EBV, CMV IgG/IgM, HSV 1 IgG, HSV 2 IgG, Lyme Disease, Mumps IgG, Toxoplasma IgG/IgM, and VZV IgG) after a brief downtime due to instrument malfunction.

Background

The instrument performing the above tests was inoperable from 2/5 – 2/7/25. Parts have been replaced by the vendor and testing has resumed.

Assessment

Samples are being tested in the order in which they were received, with a priority placed on analysis of samples submitted for Quantiferon testing. Laboratory staff are working additional hours to address the backlog of samples.

Recommendation

Providers should expect a delay in results while the laboratory works on testing the backlog of samples received since Tuesday afternoon.

For questions or additional information, please contact:

mark.a.cervinski@hitchcock.org, or the Chemistry Director on-call at 8139.