To: 	Dartmouth Health Providers

# From:     Mark A. Cervinski, PhD, DABCC, Director of Clinical Chemistry

# Lynn A. Brunelle, PhD, DABCC, Assistant Director of Clinical Chemistry

# Sarah E. Labore, MLS (ASCP)cm, Chemistry and Night Shift Supervisor

Date:	    March 5, 2025

Re:          Reference Interval Change – Whole Blood and Plasma Lactate

Situation

In keeping with the “Third International Consensus Definitions for Sepsis and Septic Shock (Sepsis-3)” guidance document, the whole blood and plasma lactate reference intervals will be changing to better align with this published sepsis protocol.

Background

DHMC and the Emergency Department are instituting changes to their sepsis protocol in keeping with the Sepsis-3 guidance document.  In order to align with the revised protocol, the reference intervals for whole blood and plasma lactate will be changing from 0.5 – 2.2 mMol/L to 0.4 – 1.9 mMol/L.  The critical threshold of >3.9 mMol/L will remain unchanged.

Assessment

The laboratory is making a change to the reference intervals for whole blood and plasma lactate on March 11, 2025 in order to better align with the updated DHMC sepsis protocol.

Recommendation

Providers should expect to see a greater number of flagged whole blood and plasma lactate results as the upper end of the reference interval has been lowered from 2.2 mMol/L to 1.9 mMol/L.  There are no changes to the critical threshold.

For questions or additional information, please contact:

lynn.a.brunelle@hitchcock.org, mark.a.cervinski@hitchcock.org, or the Chemistry Director on-call at 8139.