To:	Dartmouth Health Manchester Providers

# From:	Lynn A. Brunelle, Ph.D., Medical Director, Southern Region Laboratories

# Cassandra S. Brooks, MHA, MLS (ASCP)CM, Manager, Southern Region Laboratories

Date:	4/20/2026

Re:	New Reference Intervals, Alanine Aminotransferase (ALT) & Aspartate Aminotransferase (AST), DH Manchester Laboratory only

Effective April 21, 2026, the DH Manchester Laboratory will make a change to the Alanine Aminotransferase (ALT) [LAB132] and Aspartate Aminotransferase (AST) [LAB131] test reagents.  This reagent change will be accompanied by new reference intervals for these tests.

Why is this change being made?

The DH Manchester Laboratory is implementing a new chemistry analyzer and the reagent formulation for AST and ALT that accompanies this change will require updates to the corresponding reference intervals.

The updated reference intervals will be as follows:

ALT (units/L)

Female:

0 – <1 year            <= 36

1 - <13 years         <= 33

13 - 19 years         <= 32

>19 years              <= 35

Male:

0 – <1 year            <= 36

1 - <13 years         <= 32

13 - 19 years         <= 41

>19 years              <= 50

AST (units/L)

Female:

0 - <15 days          <= 175

15 days - <1 year  <= 77

1 - <7 years           <= 56

7 - <12 years         <= 50

12 - 19 years         <= 38

>19 years              <= 35

Male:

0 - <15 days          <= 175

15 days - <1 year  <= 77

1 - <7 years           <= 57

7 - <12 years         <= 49

12 - 19 years         <= 46

>19 years              <= 50

What do Providers need to do?

Order codes will remain the same. DH Manchester ALT and AST results will appear on a separate line in the Result Review Tree, denoted as ALT (w/ P5P) and AST (w/ P5P), due to the change in reagent formulation and corresponding reference intervals.

For questions or additional information, please contact:

lynn.a.brunelle@hitchcock.org or cassandra.s.brooks@hitchcock.org