TO: 		Dartmouth Health Providers

# FROM: 	Nancy Dunbar, MD, Medical Director of Transfusion Medicine

# Brooks Bergholm, BS, MT (ASCP), Clinical Hematology Supervisor

# Serena Fedorov, BS MT (AMT), Technical Specialist Coagulation

Date:		July 2, 2026

Re:	Delays in Testing – Fibrinogen

Situation

Testing for fibrinogen is on a delay.

Background

The DHMC Coagulation Laboratory will have a delay in testing with our Fibrinogen assay. Due to the humidity in the department, we will be closely monitoring the quality control and humidity levels while running patients for this test.

Assessment

The following workflow adjustments will take place:

- All routine Fibrinogen tests will be frozen and batched for scheduled QC times once per shift (at 1000, 1800, 0200).

- Add on testing might be impacted due to the samples being frozen until batch testing can commence. (All frozen Coagulation samples only have one freeze thaw stability).

- All STAT Fibrinogen tests will be attempted to run as received.

- If we are unable to run STATs the ordering provider will be contacted.

Recommendation

Providers should anticipate longer turnaround times for fibrinogen testing.

For questions or additional information, please contact:

Nancy Dunbar, MD, Nancy.M.Dunbar@hitchcock.org, (603) 650-7171

Brooks Bergholm, BS, MT (ASCP), Brooks.D.Bergholm@hitchcock.org, (603) 650-7171

Serena Fedorov, BS, MT (AMT) Serena.M.Fedorov@hitchcock.org, (603) 650-8096